## Sheet1
LED Parts | Price | Quantity | Total | Link | Stepper Motor Parts | Price | Quantity | Total | Link | Camera Parts | Price | Quantity | Total | Link | Blue Robotics Parts | Price | Quantity | Total | Link | McMaster parts | Price | Quantity | Total | Link | Miscellaneous parts | Price | Quantity | Total | Link |  | Tools | Price | Quantity | Total | Link
LED | 17.99 | 1 | 17.99 | http://www.mtnelectronics.com/index.php?route=product/product&product_id=407 | Stepper motor controller | 12.99 | 1 | 12.99 | https://www.amazon.com/Stepper-Controller-Generator-Regulator-15-160V/dp/B07QB1MFN4/ref=sr_1_2?crid=30SUO1F51A066&keywords=stepper+motor+signal+generator&qid=1568764936&s=gateway&sprefix=stepper+motor+sign%2Ctools%2C126&sr=8-2 | PoE Injector | 20.26 | 1 | 20.26 | https://www.amazon.com/TRENDnet-Ethernet-Supported-Auto-MDIX-TPE-113GI/dp/B007Q87KP2?th=1 | Camera tube acrylic custom length (406mm) | 81.4 | 1 | 81.4 | https://bluerobotics.com/store/watertight-enclosures/3-series/wte3-p-tube-custom-r1/ | Stainless steel threaded rod | 19.64 | 1 | 19.64 | https://www.mcmaster.com/94185A580/ | Small Heat shrink kit | 8.99 | 1 | 8.99 | https://www.amazon.com/gp/product/B073R69KNB/ref=ox_sc_act_title_11?smid=A2JU42WM4PJ26Q&psc=1 |  | steel fish tape 125' | 22.99 | 1 | 22.99 | https://www.amazon.com/RamPro-Spring-Steel-Impact-Electric-Communication/dp/B01MXIOGF7/ref=sr_1_5?dchild=1&keywords=steel+fish+tape&qid=1597153493&sr=8-5
AC-DC power converter | 9.99 | 1 | 9.99 | https://www.amazon.com/gp/product/B06Y64QLBM/ref=ox_sc_act_title_1?smid=A3GP3KKILUBYIY&psc=1 | AC-DC power supply | 10.49 | 1 | 10.49 | https://www.amazon.com/gp/product/B07HNL5D56/ref=ox_sc_act_title_7?smid=A14FP9XIRL6C1F&psc=1 | Ethernet cable from injector to computer | 9.67 | 1 | 9.67 | https://www.amazon.com/Ethernet-IMONTA-Resistant-Waterproof-Buried-able/dp/B07H94M77Q/ref=sr_1_19?dchild=1&keywords=cat6+cable+10ft&qid=1596221958&sr=8-19 | LED tube custom length (120mm) | 24 | 1 | 24 | https://bluerobotics.com/store/watertight-enclosures/3-series/wte3-p-tube-custom-r1/ | 18-8 stainless steel low profile screw | 8.4 | 1 | 8.4 | https://www.mcmaster.com/92855A335/ | Solder | 6.99 | 1 | 6.99 | https://www.amazon.com/SONEAK-Solder-Rosin-Electrical-Soldering/dp/B084RZF23H/ref=sr_1_8?dchild=1&keywords=solder&qid=1597153436&sr=8-8 |  | hacksaw |  |  | 0
Power controller | 13.99 | 1 | 13.99 | https://www.amazon.com/gp/product/B07JZ2GQJF/ref=ox_sc_act_title_2?smid=AFHAE9RJVUMB&psc=1 | Stepper motor driver | 27.34 | 1 | 27.34 | https://www.omc-stepperonline.com/integrated-stepper-motor-driver-0-2a-10-28vdc-for-nema-8111417-stepper-motor | 225' cat6 ethernet cable | 104.68 | 2 | 209.36 | https://www.amazon.com/gp/product/B06XSKXCQ4/ref=ox_sc_act_image_7?smid=A27DUHPPTQX1VZ&psc=1 | Acrylic end cap | 10 | 2 | 20 | https://bluerobotics.com/store/watertight-enclosures/3-series/wte3-p-end-cap-r1/ | Button head hex drive screw | 6.55 | 1 | 6.55 | https://www.mcmaster.com/92095A187/ | loctite thread locker | 23.45 | 1 | 23.45 | https://www.amazon.com/Threadlocker-Medium-Strength-Resistant-Style/dp/B0000DD2YR/ref=sr_1_2?dchild=1&keywords=loctite+thre&qid=1597153564&sr=8-2 |  | circular saw |  |  | 0
barrel power adapter | 0 | 1 | 0 | https://www.amazon.com/gp/product/B06Y64QLBM/ref=ox_sc_act_title_1?smid=A3GP3KKILUBYIY&psc=1 | Stepper motor w/ linear rail (150mm) | 89 | 1 | 89 | https://www.amazon.com/Linear-Actuator-Stepper-Milling-Machine/dp/B07K7HCHGC/?th=1 | 1' ethernet cable to camera | 13.99 | 1 | 13.99 | https://www.amazon.com/gp/product/B00HEM54DK/ref=ox_sc_act_title_6?smid=A1AMUYYA3CT6HJ&psc=1 | Spare O-Ring set | 3 | 3 | 9 | https://bluerobotics.com/store/watertight-enclosures/3-series/wte3-o-ring-set-r1/ | Button head hex drive screw | 4.57 | 1 | 4.57 | https://www.mcmaster.com/92095A201/ | power strip | 12.02 | 1 | 12.02 | https://www.amazon.com/GE-Outlet-Protector-Extension-14092/dp/B00DOMYL24/ref=sr_1_5?dchild=1&keywords=power+strip&qid=1597153612&sr=8-5 |  | Metal file |  |  | 0
Power cable bridge between both tubes |  | 1 | 0 |  | 3D printed stepper holder (motor side) |  |  | 0 |  | Heat shrink for ethernet cable | 28.074 | 5 | 140.37 | https://www.digikey.com/product-detail/en/Q2-F3X-1-01-MS50FT/Q2F3X100B-50-ND/1692287/?itemSeq=304403106 | O-Ring Flange | 24 | 4 | 96 | https://bluerobotics.com/store/watertight-enclosures/3-series/o-ring-flange-3-series/ | Stainless steel hex nut | 3.08 | 1 | 3.08 | https://www.mcmaster.com/94150A325/ | Stainless wire rope | 0.37 | 32 | 11.84 | https://www.homedepot.com/p/Everbilt-1-8-in-x-1-ft-Stainless-Steel-Uncoated-Wire-Rope-810056/204640740 | will want to purchase at home depot cut to length if no tool is available at the lab | heat gun | 129 | 1 | 129 | https://www.homedepot.com/p/Milwaukee-11-6-Amp-Variable-Temperature-Heat-Gun-8977-20/203407542
LED mount shaft (thorlabes) | 7.52 | 2 | 15.04 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MS2R | 3D printed stepper holder (rail side) |  |  | 0 |  | carabeaners for ethernet cable | 26.99 | 1 | 26.99 | https://www.amazon.com/gp/product/B07L86XWMT/ref=ox_sc_act_title_5?smid=A3VVL1M01MGYPX&psc=1 | Enclosure Clamp | 36 | 2 | 72 | https://bluerobotics.com/store/watertight-enclosures/3-series/enclosure-clamp-3-series/ | High-speed steel drill-point countersink for screws | 23.05 | 1 | 23.05 | https://www.mcmaster.com/2756A49/ | Pelican Air 1615 | 321.95 | 1 | 321.95 | https://www.pelican.com/us/en/product/cases/air/1615?sku=016150-0001-150 |  | ethernet head crimper | 17.99 | 1 | 17.99 | https://www.amazon.com/TRENDnet-Crimping-Rj-45-Rj-12-TC-CT68/dp/B0000AZK4G/ref=sr_1_3?dchild=1&keywords=ethernet+cat6+crimper+trendnet&qid=1597154155&sr=8-3
LED mount 90 degree (thorlabs) | 15.15 | 1 | 15.15 | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER90B/M | Battery charger | 13.88 | 1 | 13.88 | https://www.amazon.com/gp/product/B07BYJTC94/ref=ox_sc_act_title_1?smid=A2G51RV0D5KLMK&psc=1 | F-F ethernet splitter to split 3D printed mount | 6.99 | 1 | 6.99 | https://www.amazon.com/Haitronic-ethernet-Connector-Ethernet-Extender/dp/B06XPZBRJ2/ref=sr_1_3?dchild=1&keywords=f-f+cat6+adapter&qid=1596223252&sr=8-3 | Aluminum end cap with 4 holes | 12 | 2 | 24 | https://bluerobotics.com/store/watertight-enclosures/3-series/wte3-m-end-cap-4-hole-r1/ | High-speed steel round-shank reamer | 14.82 | 1 | 14.82 | https://www.mcmaster.com/2995A61/ | Nanuk 935 waterproof carry-on case | 153.89 | 1 | 153.89 | https://www.amazon.com/Nanuk-Waterproof-Hard-Wheels-Empty/dp/B00BP8UJCU/ref=sr_1_4?dchild=1&keywords=nanuk%2Bcase&qid=1597155710&sr=8-4&th=1 |  | wood clamps for steadying ethernet during potting | 31.97 | 1 | 31.97 | https://www.amazon.com/IRWINQUICK-GRIPOne-Handed-Mini-Clamp-Pack-1964748/dp/B00TKIUL84/ref=sr_1_13?dchild=1&keywords=wood+clamps&qid=1597154363&sr=8-13
LED mounts clamp (thorlabs) | 17.85 | 1 | 17.85 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MSRA90 | Battery 1500 mAh | 23.99 | 1 | 23.99 | https://www.amazon.com/gp/product/B07CV95YFN/ref=ox_sc_act_title_2?smid=A1KODDOPEPALCP&psc=1 | FLIR GIGE camera | 575 | 1 | 575 | https://www.flir.com/products/blackfly-s-gige/?model=BFS-PGE-120S4M-CS | M10 Cable Penetrator for 8mm cable | 5 | 2 | 10 | https://bluerobotics.com/store/cables-connectors/penetrators/penetrator-10-25-a-8mm-r2/ | 316 stainless steel hex drive flat head screw | 7.98 | 1 | 7.98 | https://www.mcmaster.com/93395A217/ | RJ45 ethernet break out board | 4.38 | 2 | 8.76 | https://www.amazon.com/Ethernet-Connector-Breakout-terminals-Spring/dp/B06XZ3BMTL/ref=cm_cr_arp_d_product_top?ie=UTF8 |  | volt meter | 19.99 | 1 | 19.99 | https://www.amazon.com/Velleman-DVM850BL-Hold-Function-Backlight/dp/B00068U24A
3D Printed Mount |  | 1 | 0 |  | Battery power wire dean plug | 9.98 | 1 | 9.98 | https://www.amazon.com/T-Plug-T-Connectors-Deans-Style-BDHI-28/dp/B07MDGT5C1/ref=sr_1_2?dchild=1&keywords=dean+connector+awg&qid=1596219243&sr=8-2 | 3D Printed square to lift camera on rail platform |  | 1 | 0 |  | M10 cable penetrator for 6mm cable | 4 | 2 | 8 | https://bluerobotics.com/store/cables-connectors/penetrators/penetrator-10-25-a/ | Silver corner suface bracket | 7.62 | 6 | 45.72 | https://www.mcmaster.com/47065T267/ | spool core | 5.4 | 1 | 5.4 | https://www.mcmaster.com/38305T12/
Barrel power adapter for power cable |  | 2 | 0 |  | Power switch to turn battery on and off | 7.99 | 1 | 7.99 | https://www.amazon.com/DZS-Elec-Rocker-Switch-Position/dp/B07PMGXW2K | Screws to mount camera to platform |  |  | 0 |  | Enclosure vent and plug | 9 | 2 | 18 | https://bluerobotics.com/store/cables-connectors/penetrators/vent-asm-r1/ | silver corner bracket 2" | 5.25 | 9 | 47.25 | https://www.mcmaster.com/47065T239/ | spool flange | 8.24 | 1 | 8.24 | https://www.mcmaster.com/38305T33/
Heat sink | 10.74 | 1 | 10.74 | https://www.amazon.com/a16012800ux0575-Aluminium-Heatsink-Radiator-25x25x10/dp/B01FLDT0WE/ref=sr_1_6?keywords=heat+sink+25mm&qid=1566499339&s=electronics&sr=1-6#customerReviews | [5 empty] | camera to tube adapter (thorlabs SM1A9) | 19.96 | 1 | 19.96 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1A9 | M10 cable penetrator blank | 4 | 2 | 8 | https://bluerobotics.com/store/cables-connectors/penetrators/penetrator-blank-10-25-a-r2/ | silver corner bracket 1" | 5.21 | 8 | 41.68 | https://www.mcmaster.com/47065T236/ | 3D printed led and stepper controller housing |  |  | 0
Thermal glue | 9.98 | 1 | 9.98 | https://www.amazon.com/GENNEL-Conductive-Silicone-Adhesive-Compound/dp/B072MSXHJD/ref=sr_1_5?keywords=thermal+epoxy&qid=1566498382&s=gateway&sr=8-5 | [5 empty] | 3" tube | 27.84 | 1 | 27.84 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1L30 | Penetrator wrench | 13 | 2 | 26 | https://bluerobotics.com/store/cables-connectors/tools/tool-penetrator-wrench-r1/ | surface tee surface bracket | 7.95 | 1 | 7.95 | https://www.mcmaster.com/47065T278/ | Zip ties | 15 | 1 | 15 | https://www.amazon.com/Cambridge-ZipIts-Assortment-Nylon-Cable/dp/B00PB0KO7I/ref=sr_1_3?crid=17EN9T6QMYHYO&dchild=1&keywords=assorted+zip+ties&qid=1597676555&sprefix=assorted+zi%2Caps%2C202&sr=8-3
[10 empty] | retaining ring | 4.64 | 1 | 4.64 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1RR | Potting kit | 10 | 1 | 10 | https://bluerobotics.com/store/cables-connectors/tools/tool-potting-kit-r1/ | t-slotted framing 1" | 30.54 | 3 | 91.62 | https://www.mcmaster.com/47065T101-47065T977/ | Cat6 End | 7.99 | 1 | 7.99 | https://www.amazon.com/CableCreation-Connector-Ethernet-Connectors-Transparent/dp/B01K9Z4C3G/ref=asc_df_B01K9Z4C3G/?tag=hyprod-20&linkCode=df0&hvadid=309776868400&hvpos=&hvnetw=g&hvrand=2473414188630381948&hvpone=&hvptwo=&hvqmt=&hvdev=c&hvdvcmdl=&hvlocint=&hvlocphy=2840&hvtargid=pla-456221970879&psc=1
[10 empty] | Aperture (SM1D12D) | 71.15 | 1 | 71.15 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1D12D#ad-image-0 | Loctite marine epoxy | 6 | 2 | 12 | https://bluerobotics.com/store/cables-connectors/tools/loctite-marine-epoxy/ | 18-8 stainless steel socket head screw | 10.63 | 1 | 10.63 | https://www.mcmaster.com/92196A948/
[10 empty] | aperture to objective adapter | 21.31 | 1 | 21.31 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1A27 | Acetone cable preparation wipes | 4 | 1 | 4 | https://bluerobotics.com/store/cables-connectors/tools/potting-acetone-wipes-qty10-r1-rp/ | 18-8 Stainless Steel Nylon-Insert Locknut | 3.95 | 1 | 3.95 | https://www.mcmaster.com/91831A002/
[10 empty] | F=75mm mitutoyo corrective lens (AC254-075-A) | 81.16 | 1 | 81.16 | https://www.thorlabs.com/thorproduct.cfm?partnumber=AC254-075-A | Moisture indicating silica gel desiccant bag | 10 | 1 | 10 | https://bluerobotics.com/store/watertight-enclosures/enclosure-tools-supplies/desiccant-r2-rp/ | 18-8 Stainless Steel Socket Head Screw | 9.75 | 1 | 9.75 | https://www.mcmaster.com/92196A033/
[10 empty] | Mitutoyo 5x objective | 720 | 1 | 720 | https://www.edmundoptics.com/p/5x-mitutoyo-plan-apo-infinity-corrected-long-wd-objective/6621/ | Hand operated vacuum pump | 34 | 1 | 34 | https://bluerobotics.com/store/watertight-enclosures/enclosure-tools-supplies/hand-operated-vacuum-pump/ | 18-8 Stainless Steel Nylon-Insert Locknut | 5.31 | 1 | 5.31 | https://www.mcmaster.com/93625A100/
[10 empty] | Throlab retaining ring tool(SPW602) | 28.38 | 1 | 28.38 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SPW602 | O-ring pick | 4 | 1 | 4 | https://bluerobotics.com/store/watertight-enclosures/enclosure-tools-supplies/tool-o-ring-pick-r1/ | Button Head Hex Drive Screw | 5.72 | 1 | 5.72 | https://www.mcmaster.com/92095A106/
[15 empty] | Silicone Grease | 3 | 1 | 3 | https://bluerobotics.com/store/watertight-enclosures/enclosure-tools-supplies/tool-silicone-grease-10g-r1/ | Button Head Hex Drive Screw | 4 | 1 | 4 | https://www.mcmaster.com/92095A475/
[20 empty] | Pear-Shaped Link | 9.59 | 2 | 19.18 | https://www.mcmaster.com/3567T31/
[20 empty] | 18-8 Stainless Steel Cast Wire Rope Clamp | 1.46 | 34 | 49.64 | https://www.mcmaster.com/31985T71/
[20 empty] | Extra-Stretch Extension Spring | 40.52 | 1 | 40.52 | https://www.mcmaster.com/8433K47/
[20 empty] | Silver Square Mounting Plate | 12.02 | 2 | 24.04 | https://www.mcmaster.com/47065T651/
[20 empty] | aluminum sheet metal for rear fin (14.5x12x1/8 inch) |  | 1
[20 empty] | t-slotted framing 1"x2" |  |  |  | https://www.mcmaster.com/47065T107/
|  |  | 110.73 |  |  |  |  | 195.66 |  |  |  |  | 1977.07 |  |  |  |  | 473.4 |  |  |  |  | 495.05 |  |  |  |  | 584.52 | [5 empty] | 221.94
Total | 3251.91
w/ misc. | 3968.9